THIS SPECIAL PROVISION IS USED TO SPECIFY AN AESTHETIC TREATMENT FOR STRUCTURES AND APPURTENANCES. ENTER THE PROJECT SPECIFIC LOCATIONS IN THE DESCRIPTION SECTION, COLOR IN MATERIALS SECTION, AND ALSO, DELETE THE PAY ITEM AND DESCRIPTION FROM THE MEASUREMENT AND PAYMENT SECTION OF THE UNUSED PAY ITEM. DO NOT CHANGE APPROVAL CODE OR DATE. DELETE THIS NOTE BEFORE USING THIS PASP IN A PROJECT.

- Description

This work consists of furnishing and applying an acrylic based concrete surface coating to concrete structures, including but not limited to (NOTE TO DESIGNER: INSERT PROJECT SPECIFIC LOCATIONS SUCH AS: RETAINING WALLS, NOISE WALLS, BARRIERS, FASCIAS, CHEECKWALLS, PIERS OR SUBSTRUCTURE) locations as specified on the plans. Ensure all work and materials are in accordance with the Michigan Department of Transportation 2020 Standard Specifications for Construction, except as modified herein.

- Materials

Select the acrylic based concrete surface coating from the products listed below. On any single structure, use the same product for all areas to be coated with a specified color. Do not mix colors or products from more than one source. Ensure the color of the first coat is in contrast with both the bare concrete and the finish coat.

For this project, furnish and apply a smooth textured, concrete coating of the following color, or another Engineer approved color:

(NOTE TO DESIGNER: INSERT PROJECT SPECIFIC COLOR HERE)

Submit color samples to the Engineer for review and approval. If required by the Engineer, complete a test section to demonstrate the final color prior to application of the coating to the structure.

Company			Product

Benjamin Moore		Super Spec Masonry 100% Acrylic Elastomeric Coating 					Flat 056

Carboline Company		Carbocrylic 3350

ChemMasters		Colorcoat

ChemMasters		Colorlastic

Conspec			Permacoat

Company, cont.		Product, cont.

ICI Dulux Paints		Decra-Flex 300

O’Leary Paint Company	O’Leary 1375 Elastomeric

PPG Industries, Inc.		Perma-Crete Pitt-Flex Elastomeric Coating 4-110

Sherwin-Williams		Concrete Texture Coating Smooth B97-160 Series

Sika Corporation		Elastocolor

Sika Corporation		Sikagard 550W Elastic

Sonneborn			Super Color Coat

Tamms Industries		Tammolastic

Thoro	Thorocoat		Thoro	Thorolastic

- Construction

- Surface Preparation

Cure new concrete a minimum of 28 days before coating. Following the curing period, and prior to coating, test for moisture content in the concrete as described below.

Ensure all concrete to be coated is tested for the presence of moisture after surface preparation has been completed and prior to application of the coating. Ensure testing is in accordance with ASTM D 4263. Tape an 18 inch by 18-inch sheet (4 mil) of transparent polyethylene to the concrete surface to be coated. Ensure all edges are sealed with tape that will stick to the concrete substrate and not allow the infiltration of air. Leave the plastic sheet in place a minimum of 16 hours to detect the presence of moisture in the concrete. There must be no moisture visible on the polyethylene sheet after the minimum period has elapsed for coating work to begin. This must be verified by the Engineer before application of the coating begins. This test may not be reliable in cooler conditions. Alternate methods to detect moisture must be approved by the Engineer. This test should be performed a minimum of once every 100 lineal feet on barriers, walls etc., and a minimum of once on columns, piers, etc. Prepare the surface, including removing fins and projections and filling surface voids and cracks (if required), according to manufacturer’s recommendations, except as modified by this special provision.

Ensure the surface to be coated is dry and free from all contamination including, but not limited to dirt, form release agents, oil, grease, laitance, loose material and curing compounds. Clean surface by low-pressure water cleaning, steam cleaning, or abrasive blasting (followed by oil-free compressed air cleaning) or by combination to achieve an acceptable cleaned surface. When low-pressure water cleaning or steam cleaning is used, the concrete surface profile (CSP) must be CSP 1 in accordance with the International Concrete Repair Institute Guideline for Selecting and Specifying Concrete Surface Preparation for Sealers, Coatings, and Polymer Overlays (Guideline No. 310.2R-2013). When abrasive blasting is used, the concrete surface profile must be CSP 2 to CSP 4. Low-pressure water or steam cleaning primarily removes water soluble contaminants. Aged concrete with contaminants such as hardened curing compound may require light abrasive blasting to completely remove the curing compound. Since many curing compounds contain wax, even well adhered residue must be removed prior to coating to ensure a good bond between the surface coating and the concrete.

When low pressure water cleaning or steam cleaning is used, the power washer must deliver 3000 - 4500 psi and utilize a 15 degree or smaller nozzle tip held perpendicular to the surface being cleaned. When using light abrasive blasting to remove contaminants on new construction, be careful not to remove excessive concrete material.

- Visual Inspection

Check surface cleanliness by lightly rubbing with a dark cloth or by pressing translucent adhesive tape onto the concrete surface in the presence of the Engineer. An acceptable level of residual dust can be agreed upon by the Engineer and the Contractor. Perform a water drop test in the presence of the Engineer prior to coating the concrete surface to detect for the presence of any hydrophobic contaminants. Hydrophobic contaminants include materials such as form release agents, curing compounds, oil, grease, wax, and resins. If contaminants are detected, as evidenced by a lack of rapid absorption of the water drop into the concrete, remove the contaminants and perform the tests again until no contaminants are detected.

- Application

Apply two coats (do not dilute) of the acrylic based concrete surface coating. Apply each coat to provide the minimum wet film thickness as recommended by the manufacturer. A primer is not required unless stated as required in the manufacturer’s product data sheet. Temperature limitations of the air, coating material and concrete for application will follow manufacturer’s recommendations but must not be outside the temperature range of 45 to 90 degrees F and the temperature of the air, coating material and concrete must be at least 5 degrees F above the dew point. Do not apply the concrete surface coating at a relative humidity greater than 90 percent or if rain is forecasted within the specified rain resistance period.

- Measurement and Payment

The completed work, as described, will be measured and paid for at the contract unit price using the following pay item:

Pay Item										  Pay Unit

Conc Surface Coating, RCOC.................................................................Lump Sum

Conc Surface Coating, RCOC..............................................................Square Yard

Conc Surface Coating (Structure No.), RCOC (LSUM) includes all labor, equipment, and materials to prepare the substrate concrete surface, conduct the visual inspection and apply the primer (if required) and two topcoats of surface coating. No additional payment will be made for the test section.

Conc Surface Coating (Structure No.), RCOC (LSUM) includes all labor, equipment, and materials to prepare the substrate concrete surface, conduct the visual inspection and apply the primer (if required) and two topcoats of surface coating. No additional payment will be made for the test section.